## Slide 1: Status of the MAX IV Short Pulse Facility
Sara Thorin

## Slide 2: MAX IV
SPF
Linac
Notes: Funded 2009
Inauguration summer 2016

## Slide 3: MAX IV linac overview
Full energy injection and top up operation for the two storage rings
Energy | 1.5 GeV/ 3GeV
Injection frequency | 10 Hz
Charge | 0.6-1 nC/shot
Emittance | 10 mm mrad
Energy spread | <0.2%
Thermionic RF gun
Photo cathode RF gun
BC1 @ 260 MeV
Extraction 1.5 GeV
Extraction 3 GeV
BC2 @ 3 GeV
SPF

## Slide 4: MAX IV linac overview
Full energy injection and top up operation for the two storage rings
High brightness driver for the Short Pulse Facility
Energy | 1.5 GeV/ 3GeV
Injection frequency | 10 Hz
Charge | 0.6-1 nC/shot
Emittance | 10 mm mrad
Energy spread | <0.2%
Energy | 3GeV
Injection frequency | 100 Hz
Charge | 100 pC
Bunch length | 100 fs
Emittance | 1 mm mrad
Energy spread | <0.4%
Thermionic RF gun
Photo cathode RF gun
BC1 @ 260 MeV
Extraction 1.5 GeV
Extraction 3 GeV
BC2 @ 3 GeV
SPF

## Slide 5: MAX IV linac overview
Full energy injection and top up operation for the two storage rings
High brightness driver for the Short Pulse Facility
Possible future Free Electron Laser
Energy | 1.5 GeV/ 3GeV
Injection frequency | 10 Hz
Charge | 0.6-1 nC/shot
Emittance | 10 mm mrad
Energy spread | <0.2%
Energy | 3GeV
Injection frequency | 100 Hz
Charge | 100 pC
Bunch length | 100 fs
Emittance | 1 mm mrad
Energy spread | <0.4%
Thermionic RF gun
Photo cathode RF gun
BC1 @ 260 MeV
Extraction 1.5 GeV
Extraction 3 GeV
BC2 @ 3 GeV
SPF

## Slide 6: MAX IV Short Pulse Facility
Thermionic RF gun
Photo cathode RF gun
BC1 @ 260 MeV
Extraction 1.5 GeV
Extraction 3 GeV
BC2 @ 3 GeV
SPF
BC2 @ 3 GeV
U
FemtoMAX

## Slide 7: MAX IV Short Pulse Facility
Thermionic RF gun
Photo cathode RF gun
BC1 @ 260 MeV
Extraction 1.5 GeV
Extraction 3 GeV
BC2 @ 3 GeV
SPF
BC2 @ 3 GeV
U
FemtoMAX
Soft X-ray FEL beamline
Linac extention + hard X-ray FEL
Wakefield acceleration experiment

## Slide 8: MAX IV Short Pulse Facility
Thermionic RF gun
Photo cathode RF gun
BC1 @ 260 MeV
Extraction 1.5 GeV
Extraction 3 GeV
BC2 @ 3 GeV
SPF
BC2 @ 3 GeV
U
FemtoMAX
Soft X-ray FEL beamline
Linac extention + hard X-ray FEL
Wakefield acceleration experiment

## Slide 9: High brightness gun
1.6 cell UCLA-type RF gun
Copper cathode
10 Hz/100Hz
SLED
Ti-sapphire laser, 263 nm
Norm Emittance ~ 1.5 mm mrad @ 150 pC
To improve emittance:
Polish cathode
Longitudinal laser pulse shaping
Increase power in the gun

## Slide 10: Bunch compressors – double achromats
R56 > 0
T566 > 0
z
z
E
E
Emean
2
4
6
8
10
12
X[m]
-2
2
4
Y[m]
0
quad
dipole
sext
BC1
 | BC1 | BC2
R56 | 2.23 cm | 2.89 mm
T566 | 8.05 cm | 6.76µm

## Slide 11: Bunch compressors
Why self linearising compression?
economy
reliability
simplicity
Why compression in double achromats?
positive R56 (fixed)
positive T566 for linearisation
“weak” sextupoles for tuning
symmetry → small energy depending matrix elements
beam spreader
2
4
6
8
10
12
X[m]
-2
2
4
Y[m]
0
quad
dipole
sext
BC1

## Slide 12: Simulation results - SPF-pulse
Charge | 100 pC
Δt fwhm | 100 fs
Peak current | 1.5 kA
Compression factor | 50
Slice εN | 0.42 mm mrad
Proj εN | 0.55 mm mrad
Emittance increase | 5 %
Slice ΔE/E | 0.035 %
Gun – 1st linac: ASTRA
Linac + compressors: ELEGANT

## Slide 13: Simulation results - full compression
Charge | 100 pC
Δt fwhm | 10 fs
Peak current | 14 kA
Compression factor | 500
Slice εN | 1.5 mm mrad
Proj εN | 2.4 mm mrad
Emittance increase (slice) | 375 %
Slice ΔE/E | 0.25 %
Gun – 1st linac: ASTRA
Linac + compressors: ELEGANT

## Slide 14: Bunch compression measurements
Horn antenna
Streak on BC2 screen
Sextupole influence on longitudinal bunch profile and bunch length

## Slide 15: FemtoMAX beamline @ SPF
Status – Focused beam on last screen
Monochromators aligned and commissioned for 2-5 keV
First test of the first X-bpm at FemtoMAX front end with ‘X-rays’, May 2015
Focused beam at sample position. Beamsize is 50 μm x 100 μm