## Slide 1: Control Systems for Accelerators and Automation 2015-12-03
David Fernández.
ALBA Computing & Controls

## Slide 3: Different views at different levels
SUBSYSTEMS
Power supplies
Vacuum
RF
Insertion Devices
Diagnostics (BPM, BLM, etc. (SRM, FS, FCT, Scrappers…)
Linac / Booster (both can be subdivided in the subsystems)…...
TRANSVERSAL subSYSTEMS
Timing/Synchronization,
Equipment Protection Sys.
Personnel Safety Systems.
TRANSVERSAL-SOFTWARE
Alarm System
Archiving System

## Slide 4: PLC based systems: Equipment protection and Personnel protection
EPS
PSS

## Slide 5
Personnel Protection
  Intrusion
  Search procedures
  Access control
  Radiation monitors
Equipment protection
  Water interlocks
  Temperatures
  Actuators
  Logic of valves and vacuum itlks
  RF, Vacuum Eq. IDs, etc.
  Logic of shutters
  Interfaces with timing
  …
Hundreds of signals
Thousands of signals

## Slide 6: Interlocks and Equipment protection
Notes: Global interlock view.
Gives the operator the general status of the machine at a glance

## Slide 7: Defining procedures. “Ad hoc”: Injection procedures (Top-Up)
Notes: There are a certain number of actions candidate to be automated.
The injection (in particular in top-up):
It uses the timing system (events and sequences) for the high precision synchronization.
It defines software sequences for the injection process

## Slide 8: Timing Injection Filling patterns Top-up …
Notes: Ad hoc application summarizing the automated procedures

## Slide 9: Timing
Notes: Ad hoc application summarizing the automated procedures

## Slide 10: Start / Stop Orbit feedback.
Notes: Ad hoc application summarizing the automated procedures

## Slide 11: Alarm handling
Defined by the Operators: Historic archive Manage states, Acknowledgment,
actions,
persistence,
receivers,
…
Notes: Flexible procedures. Defined by the operators

## Slide 12: Alarm handling & Automation
Notes: Many are handled automatically at the PLC level by the Equipment Protection System
However, there are cases, where we need to combine these variables with others to produce an action
Besides, we need that to be flexible (for example, editable by the operators…)
The system (designed for alarm handling) can also handle these procedures

## Slide 13: Alarm handling & Automation (Panic app. HowTo)
Notes: An example…
Define conditions for opening the shutter.... Which actually automatically open the front-end shutter.

## Slide 14: Incidences
Operators face a certain number of incidences (logbook(PSI) and RT)
“From the CR we heard a noise like a little explosion and immediately after there was
the PANIC alarm regarding Bo PS”
Notes: The logbook is crucial to register incidences and actions
It is also very important to send relevant information to relevant people (and eventually trigger some (manual) actions)
At Alba we use ELOG developed at PSI for the ELOGs, and Request Tracker for the incidences (about 60000 since 2010)

## Slide 15: Summary
Protection systems
Transversal systems
Predefined sequences (i.e. filling patterns)
Alarm handling. Recovery methods
Ways to define and automatize procedures (profit from the experience of the operators)
Many thanks!