## Slide 2: Installation of Tango ICALEPCS 2021
Benjamin Bertrand

## Slide 3: Agenda
Introduction
Tango Source Distribution
CentOS
Debian & Ubuntu
Conda
Windows
Docker
TangoBox

## Slide 4: Introduction: what is needed?
Tango host
  MariaDB or MySQL database
  DataBaseds (tango database)
Tango device server
  TangoTest device server for testing
  TangoStarter to run device servers
  Tango libraries (C++, python, java)
Tango applications
  java applications (jive, astor)
  Tango libraries (C++, python, java)

## Slide 5: Introduction: TANGO_HOST
On Linux, check is done in this order:
  TANGO_HOST environment variable
  $HOME/.tangorc
  /etc/tangorc
On Windows:
  TANGO_HOST environment variable
  %TANGO_HOME%/tangorc
Notes: Any Tango application relies on TANGO_HOST to know where the DataBaseds is running

## Slide 6: Installation from source
TangoSourceDistribution: https://gitlab.com/tango-controls/TangoSourceDistribution
https://github.com/tango-controls/TangoSourceDistribution/releases/download/9.3.4/tango-9.3.4.tar.gz
Good instructions in the README
- Come with all jar files for Java libraries and applications
- Need to install dependencies yourself before compiling (omniORB, zmq, mysql, gcc, java)
Notes: Obviously not the most straightforward way. Good to know. Project moved to GitLab but archive still on Github.

## Slide 7: CentOS: repositories
RPM built on Copr

## Slide 8: CentOS: install tango-db

## Slide 9: CentOS: start tango-db

## Slide 10: CentOS: pytango & java

## Slide 11: Debian & Ubuntu
Notes: Install in interactive mode, will create the database and the /etc/tangorc file

## Slide 12: Debian & Ubuntu: pytango & java
WARNING! Do not use java 11!
Notes: Java applications not in the official repo due to liensing issue. Available from Frederic Picca. Note it’s not the latest version.

## Slide 13: Conda 1/2
Packages on conda-forge (Linux only):
tango-idl
cpptango
tango-database
tango-test
tango-admin
pytango
itango
pytango available for Windows on tango-controls channel
Notes: You can run DataBaseds from conda. You have to create a systemd file (or supervisor) yourself. Good to use in docker.

## Slide 14: Conda 2/2
Miniforge provides conda installer already configured to use conda-forge. Can even include mamba. Alternative to Miniconda.
Notes: Don’t recommend using pip to install pytango on Linux (no wheel yet)

## Slide 15: Docker
Works on Linux, macOS and Windows
Using docker-compose:
tango-cs running DataBaseds, TangoAccessControl, TangoTest
Other images from SKA: https://gitlab.com/ska-telescope/ska-tango-images
Notes: Hand-on session Kubernetes@SKA

## Slide 16: Windows
TangoSetup
Get TangoSetup-9.2.2_win64.exe from https://www.tango-controls.org/downloads/
https://tango-controls.readthedocs.io/en/latest/installation/tango-on-windows.html
PyTango:
  pip (wheel for windows)
  conda (from tango-controls channel): conda create -y -n tango -c tango-controls pytango

## Slide 17: TangoBox
TangoBox is a Virtual Machine image running Tango Controls system and its various tools. It is intended to be used for demonstration and training.
https://tango-controls.readthedocs.io/en/latest/installation/vm/tangobox.html
Notes: Hands-on: Install Party

## Slide 18: Conclusion
Many ways to install Tango
On Linux: RPM, deb, conda, docker
On Windows: binaries, pip, conda, docker, VM
On macOS: docker, VM

## Slide 19: Links
https://tango-controls.readthedocs.io/en/latest/installation/index.html
https://gitlab.com/tango-controls/TangoSourceDistribution
https://gitlab.com/tango-controls/tango-spec
https://github.com/conda-forge/miniforge