## Slide 1: CoSAXS beamline time-resolved experiment control using TANGO, Sardana and PandABox
KITS Software Control

## Slide 2: Introduction – MAX IV beamlines overview
14 beamlines in operation
KITS SW beamline contact

## Slide 3: CoSAXS – Coherent and Small Angle X-ray Scattering beamline
X-ray beam
Detectors for DAQ
EH general optics
Experimental Hutch
Sample Environment

## Slide 4: CoSAXS Time-Resolved Experiment

## Slide 5: CoSAXS Time-Resolved Experiment
shutter
peristaltic pump
detector
laser
sample
X-ray beam

## Slide 6: Hardware Integration in the Control System
Hardware
Hardware Interface
TANGO
Device
Hardware library according to the communication protocol
Attributes: represents a process value in the system
Commands: associated with an action
TANGO Device Class
Device Class is an abstraction of a device’s interface.
State: State of a device may reflect the equipment state. State machine defines available operations in different states of the device.

## Slide 7: Hardware Integration in the Control System
Hardware Interface
TANGO
Device
Eiger
Eiger 4M Detector
Attributes List
CountTime
TriggerMode
NbTriggers
nFramesAcquired
FilenamePattern
State
Status
…
Commands List
Arm
Trigger
Abort
Disarm
State
Status
…

## Slide 8: Hardware Integration in the Control System
Hardware Interface
TANGO
Device
Eiger
Eiger 4M Detector

## Slide 9: Experiment Orchestration with SARDANA
Pool
MacroServer
Motors
1D Channels
2D Channels
Counters
Controllers
Macros
Recorders

## Slide 10: Experiment Orchestration with SARDANA
Pool
MacroServer
SPOCK
🖖

## Slide 11: CoSAXS Time-Resolved Experiment
shutter
peristaltic pump
detector
laser
sample

## Slide 12: Experiment Orchestration with SARDANA
SCAN ORCHESTRATION
START DATA RECORD
PREPARE EQUIPMENTS
DATA ACQUISITION
RUN PRE-SCAN HOOKS
END DATA RECORD
RUN POST-SCAN HOOKS
SYNCHRONIZATION
peristaltic pump
detector

## Slide 13: Experiment Synchronization with PandABox
6x TTL IN
10x TTL OUT
FMC-ADC integration 8 channels

## Slide 14: CoSAXS Time-Resolved Experiment
shutter
peristaltic pump
detector
laser
sample

## Slide 15: Experiment Synchronization with PandABox
0
8
Time [ms]
18
23
Shutter
TTLOUT
Shutter
Analog Feedback
Detector
TTLOUT
Laser
TTLOUT
61
1 cycle

## Slide 16: Experiment Orchestration with SARDANA
SCAN ORCHESTRATION
START DATA RECORD
PREPARE EQUIPMENTS
DATA ACQUISITION
RUN PRE-SCAN HOOKS
END DATA RECORD
RUN POST-SCAN HOOKS
SYNCHRONIZATION
peristaltic pump
detector

## Slide 17: Thank you!
Vanessa Silva, Research Engineer – KITS SW Control
vanessa.silva@maxiv.lu.se